	[image: image4.png]


[image: image4.png]
	Markey Cryogenic Equipment Co.

          www.markeycryo.com.

             Ph: 888-471-CRYO

                                    2796
E-mail kevin@markeycryo.com 



	1 of 1
	


	
	

	     



CVA 6k LNG Tank (CVA-6K-250-VT)
	Manufacturer:                         Cryogenic Vessel Alternatives      

Model:                                    CVA-6K-250-VT
Capacity:                                 6,000 US Gallons        

MAWP:                                    250 psi @ 100° F
Year:                                        2011
Min Design Temp:                  -320° F @ 250 psi      

	[image: image1.jpg]





	[image: image2.jpg]



	


[image: image3.jpg]



Your Cryogenic e-Marketplace
CVA-6K-250-VT

CVA-6K-250-VT

